Title: A quality improvement initiative to reduce Cardiac CT Angiography radiation exposure in patients with congenital heart disease: a single center experience

Fatima Ali1, Huzaifa Ahmad1, Arjumand Rizvi1, Sonia Qureshi1, Naila Nadeem2, Mohammad Yousuf2, Zafar Jamil2, Rajesh Krishnamurthy3, Babar Hasan1.

1: The Aga Khan University Hospital, Department of Pediatrics and Child Health, Karachi, Pakistan.

2: The Aga Khan University Hospital, Department of radiology, Karachi, Pakistan.

3: Nationwide Children's Hospital, Department of radiology, Columbus, Ohio, USA.

ABSTRACT

Background: Use of Cardiac CT Angiography (CCTA) as a complementary diagnostic modality in patients with congenital heart diseases (CHD) is evolving in low middle-income countries (LMIC). The risk of radiation exposure especially in children, is significant if ignored. Implementation of quality improvement measures geared towards reducing radiation and by tracking them with control charting and monthly M&M may be extremely useful in sustainability of quality initiative in resource-limited centers in LMIC.

Objectives: To demonstrate how a quality improvement initiative can reduce radiation during CCTA by targeting key drivers in patients with CHD in a LMIC setting.

Methods: We designed a key driver-based quality improvement initiative, including a key driver diagram with aim, key drivers and interventions. Factors (protocol optimization, patient selection, training and implementation) associated with high radiation were identified and targeted between August 2016 and January 2017. Pre-intervention variables (radiation dosing, scanning protocols, and image quality) were collected from September 2012 to July 2016 and compared to variables in the post-implementation phase (February 2017- July 2017). Radiation dose was expressed with control chart.  Quantitative and categorical variables were compared through t-test, Mann Whitney U test and Chi-square test, respectively. Linear regression analysis was performed to evaluate the effect of various factors on radiation dose.

Results:

There was a significant reduction in the effective radiation dose (combined 64 & 640-slice CT scanner) in the post-intervention versus pre-intervention phase (median of 2.0 mSv vs median of 15 mSv, p<0.0001, respectively). Using a 640-slice CT scanner associated with reduced radiation dose (Adjusted β: -16.5, 95% CI [-21.3,-11.7] p<0.0001), helical mode (Adjusted β: 4.9, 95% CI [3.9,19.2] p=0.031), a non-standard protocol (Adjusted β: 5.9, 95% CI [0.9,11.0] p=0.022) and scanning with conscious stat (Adjusted β: 11.5, 95% CI [3.9,19.2] p=0.003) were found to be significant risk factors on a multivariate analysis for increased radiation exposure during CCTA.

Conclusion: Use of key driver-based quality improvement initiative helps reduce CCTA-associated radiation exposure in patients with CHD. Such an approach can help newly emerging radiology units control radiation exposure associated with CCTA in CHD patients.